## Slide 1: Maximizing Existing Transmission Capacity
National Renewable Energy Laboratory
Technical Training on Contemporary Electricity System Issues for National Association of State Utility Consumer Advocates
October 28, 2021
Yingchen “YC” Zhang, Ph.D.
This presentation was funded by the U.S. Department of Energy’s Office of Electricity and Building Technologies Office.

## Slide 2: Transmission congestion
https://www.wecc.org/epubs/StateOfTheInterconnection/ Pages/Transmission-Adequacy.aspx.
Percent of Time Major Transmission Paths in WECC Are Operated at 75% or More of Their Rated Capacity (2018)
Transmission constraints arise when the use of a group of transmission facilities or pathway cannot be increased without violating a limit that has been set to ensure that the facilities or pathway are operated in compliance with mandatory reliability rules.

## Slide 3: Congestion cost (1)
https://www.energy.gov/sites/default/files/2020/10/f79/2020%20Congestion%20Study%20FINAL%2022Sept2020.pdf
Historic Congestion Costs, ISO-NE and MISO, 2005–2018 ($ Billions, Nominal)

## Slide 4: Congestion cost (2)
https://www.energy.gov/sites/default/files/2020/10/f79/2020%20Congestion%20Study%20FINAL%2022Sept2020.pdf
Historic Congestion Costs, NYISO and PJM, 2005–2018 ($ Billions, Nominal)

## Slide 5: Transmission investment
https://www.energy.gov/sites/default/files/2020/10/f79/2020%20Congestion%20Study%20FINAL%2022Sept2020.pdf
Transmission Infrastructure Investment, 1996-2018 ($ Billions, Nominal)

## Slide 6: Transfer capability changes over time
https://www.nrel.gov/docs/fy13osti/53696.pdf

## Slide 7: Ways to maximize existing transmission capability
Dynamic line ratings
Flexible AC transmission system
HVDC (HVAC)
Controlling inverters
Storage
Forecasting for net load

## Slide 8: Dynamic line rating
Electric current passing through the conductor causes heating, resulting in the conductor expanding and the line sagging. Transmission ratings are set with a maximum allowable conductor temperature (annealing temperature) and minimum clearance rules to comply with legislation and regulation.
Conductor thermal capacity is defined in terms of stating rating (SR), based on a predetermined set of worst-case weather scenarios (typically a combination of cross-winds, high solar radiation and seasonal high ambient temperatures).

## Slide 9: Dynamic line rating
https://www.nexans.be/eservice/Belgium- en/fileLibrary/Download_540145282/US/files/valley%20group_CAT-1.pdf
Use sensors and weather measurement to decide "true limits" measured by a DLR or real-time thermal rating (RTTR) system

## Slide 10: Dynamic line rating applications
Relaxing congestions due to increasing load
Improving economic dispatch scenarios in N-1 contingencies
Integrating renewable/distributed energy sources without grid reinforcement
Deferring or avoiding uprating of circuits
Maximizing the use of alternate lines when main corridors are undergoing maintenance
Maximizing transit on interconnectors and "bottleneck" topologies
Addressing potential safety/conformance issues
Connecting wind power to the grid
https://en.wikipedia.org/wiki/Dynamic_line_rating_for_electric_utilities

## Slide 11: Flexible AC transmission system
a power electronic based system and other static equipment that provide control of one or more AC transmission system parameters to enhance controllability and increase power transfer capability
  FACTS for series compensation modify line impedance
    Example: Static synchronous series compensator
  FACTS for shunt compensation to maintain voltage magnitude
    Example: Static synchronous compensator
https://en.wikipedia.org/wiki/Flexible_AC_transmission_system

## Slide 12: Flexible AC transmission system
A static synchronous series compensator (SSSC) can inject an almost sinusoidal voltage in series with the line. This injected voltage could be considered as an inductive or capacitive reactance, which is connected in series with the transmission line. This feature can provide controllable voltage compensation.
https://en.wikipedia.org/wiki/Static_synchronous_series_compensator

## Slide 13: Flexible AC transmission system
A static synchronous compensator (STATCOM) is based on a power electronics voltage-source converter and can act as either a source or sink of reactive AC power to an electricity network
T. Tayyebifar, M. Shaker and M. Aghababaie, "Improving the voltage profile and reactive power of the wind farm based fixed speed wind turbine with using STATCOM," 2014 Ninth International Conference on Ecological Vehicles and Renewable Energies (EVER), 2014, pp. 1-7, doi: 10.1109/EVER.2014.6844127.

## Slide 14: HVDC
It uses direct current (DC) at high voltage for the transmission of electrical power
It offers the most efficient means of transmitting large amount of power over long distances.
https://www.eia.gov/analysis/studies/electricity/hvdctransmission/pdf/transmission.pdf

## Slide 15: HVDC layout
Source: ABB (2014b) (left) and Retzmann (2012) (right)
https://www.eia.gov/analysis/studies/electricity/hvdctransmission/pdf/transmission.pdf

## Slide 16: Controlling inverters (renewable generators)
Concept: Changing rotor excitation frequency using the AC-DC-AC converter allows control of real power
Changing rotor current magnitudes allows control of reactive power

## Slide 17: Controlling inverters (renewable generators)
Concept: inverter controls to regulate both P and Q output

## Slide 18: Controlling inverters (example)

## Slide 19: Storage
https://www.irena.org/-/media/Files/IRENA/Agency/Publication/2020/Jul/IRENA_Virtual_power_lines_2020.pdf?la=en&hash=C58043124D596D1CF75395066817C38B55AC1983

## Slide 20: Forecasting netload

## Slide 21: An example of an extreme event’s impact on net loading
https://www.nrel.gov/docs/fy18osti/71147.pdf
a change in actual system loading (without DPV) as a result of the eclipse on August 21, 2017

## Slide 22: Future transmission needs

## Slide 23: Questions utility consumer advocates can ask
What are the limitations of the technologies introduced?
What is the maturity level of each technology?
Will HVDC replace AC transmission systems?
Can storage be used to mitigate seasonal transmission congestion?
Can we quantify the impact of each technology on increasing existing transmission capacity?

## Slide 24: Resources for more information
O’Reilly, C. et al., Oak Ridge National Laboratory, Electricity Transmission System Research and Development: Hardware and Components. Transmission Innovation Symposium: Modernizing the U.S. Electrical Grid. Prepared for U.S. Department of Energy. April 2021. https://www.energy.gov/sites/default/files/2021-05/Hardware%20OReilley%20King_0.pdf
Reed, Liza, et al. "Expanding transmission capacity: examples of regulatory paths for five alternative strategies." The Electricity Journal 33.6 (2020): 106770.
Foss, Stephen D., and Robert A. Maraio. "Dynamic line rating in the operating environment." IEEE Transactions on power Delivery 5.2 (1990): 1095-1105.
Flourentzou, Nikolas, Vassilios G. Agelidis, and Georgios D. Demetriades. "VSC-based HVDC power transmission systems: An overview." IEEE Transactions on power electronics 24.3 (2009): 592-602.
Song, Yong-Hua, and Allan Johns, eds. Flexible ac transmission systems (FACTS). No. 30. IET, 1999.
Del Rosso, Alberto D., and Steven W. Eckroad. "Energy storage for relief of transmission congestion." IEEE Transactions on Smart Grid 5.2 (2013): 1138-1146.
Kabir, Farzana, et al. "Estimation of behind-the-meter solar generation by integrating physical with statistical models." 2019 IEEE International Conference on Communications, Control, and Computing Technologies for Smart Grids (SmartGridComm). IEEE, 2019.
Gevorgian, Vahan, Yingchen Zhang, and Erik Ela. "Investigating the impacts of wind generation participation in interconnection frequency response." IEEE transactions on Sustainable Energy 6.3 (2014): 1004-1012.

## Slide 25: Contact
Yingchen.Zhang@nrel.gov