## Slide 1
NASUCA
6 November 2023
Britta Gross – EPRI, Director of Transportation
Katherine Stainken – EPRI, Transportation Policy/Regulatory Lead
TM

## Slide 2: Background and Objectives
THIS TRANSITION IS UNPRECEDENTED AND COMPLEX. IT REQUIRES:
  Extraordinary collaboration and partnering across all the major EV stakeholder groups
  Redesigned processes, useful tools, and increased standardization to simplify the planning and complex interactions between major stakeholder groups
  An evaluation of regulatory/board oversight that may not be conducive to driving actions on the pace and scale required to meet 2030 targets
Government, Industry, and Fleets are increasingly aligning on aggressive 2030 vehicle electrification goals
The pace of needed year-over-year action and investment to prepare charging sites and the grid is not clear
Consumers and fleet operators must have confidence in charging availability, reliability, and affordability
Consumers and fleets operators are increasingly looking to the utility industry to scale up efforts to support charging solutions, ensure the grid is capable of meeting vehicle loads

## Slide 3: Addressing the Barriers to Achieving EVs at Scale A Three-Pillar Strategy
1
2
3
Bilateral Convening Series
  Utility-OEM Forum
  Utility-Fleet Forum
50-state eRoadMAPTM to 2030 outlining EV loads, grid impacts, leadtimes, workforce, costs
COALITIONS & ROADMAPS
National EV Driver Research Board
STRUCTURAL SYSTEM REFORMS
UNIFYING TOOLS & PILOTS
Enabling Regulatory and Oversight Framework
Equity Blueprint & Workforce Development
Reliability: Benchmarking, Standards
Charging innovation & affordability
Approved Product List (APL)
NEVI/NEHC Coordination with EEI
Charging Infrastructure
Streamlined Grid Interconnect
  Expedited Interim Charging Solutions
Managed Charging at Scale
Interconnect Standards for V2H/V2B/V2G
GridFASTTM Online Data Exchange
OEM/Utility V2H/V2B Pilot
EV Resilience/Evacuation Pilot
Grid Readiness

## Slide 4: Addressing the Barriers to Achieving EVs at Scale A Three-Pillar Strategy
1
2
3
Bilateral Convening Series
  Utility-OEM Forum
  Utility-Fleet Forum
50-state eRoadMAPTM to 2030 outlining EV loads, grid impacts, leadtimes, workforce, costs
COALITIONS & ROADMAPS
National EV Driver Research Board
STRUCTURAL SYSTEM REFORMS
UNIFYING TOOLS & PILOTS
Enabling Regulatory and Oversight Framework
Equity Blueprint & Workforce Development
Reliability: Benchmarking, Standards
Charging innovation & affordability
Approved Product List (APL)
NEVI/NEHC Coordination with EEI
Charging Infrastructure
Streamlined Grid Interconnect
  Expedited Interim Charging Solutions
Managed Charging at Scale
Interconnect Standards for V2H/V2B/V2G
GridFASTTM Online Data Exchange
OEM/Utility V2H/V2B Pilot
EV Resilience/Evacuation Pilot
Grid Readiness

## Slide 5: Collaboration + Partnerships Ongoing Outreach
NGO &
STANDARD-SETTING ORGANIZATIONS
Joint Office of Energy & Transportation (JOET)
US DOE
US DOT
CHARGING PROVIDERS AND FUELING RETAILERS
FLEET OPERATORS
AUTO & TRUCKING INDUSTRY
UTILITY INDUSTRY
National Labs
FERC/NERC
State DOEs, DOTs, DEQs
State PUCs
League of Cities
Climate Mayors
GOVERNMENT

## Slide 6: EVs2Scale2030 Advisory Board
Chair: Xcel, Brett Carter
Co-Chair: PG&E, Patti Poppe
AAI, John Bozzella
Amazon, Sujit Mandal
Ameren, Mark Fronmuller
APPA, Paul Zummo
ATE, Phil Jones
ComEd, Gil Quiniones
Daimler Truck, Diego Quevedo
EEI, Kellen Schefter
GRE, Jeff Haase
JOET, Rachael Nealer
LCRA, Khalil Shalabi
NARUC, Katherine Peretick (Michigan PSC)
National Grid, Rudy Wynter
NRECA, Angela Strickland
NYPA, Fabio Mantovani
Southern Company, Chris Cummiskey

## Slide 7: PROJECT PARTNERS BROAD INDUSTRY SUPPORT

## Slide 8: Regulatory/Board Oversight Workstream: Why is proactive grid infrastructure build so challenging?
Utilities not confident in the timing/pace of EV adoption across their service territories (demand varies across the U.S.)
Regulators not confident
in the timing/pace of EV adoption (hearing only the voice of utilities); want to avoid stranded assets. Unclear on the cost impacts to ratepayers of proactive grid infrastructure build vs. later build
Ratepayer advocates not confident in the timing/pace of EV adoption and the need for proactive grid build; concerns on the cost impacts
EVs2scale2030 data will send clear demand signals, building confidence, and enabling utilities (and regulators) to prioritize
“no regret” investments.

## Slide 9
eRoadMAPTM
TM

## Slide 10
DATA
Other:
ANALYTICS

## Slide 11: Improved Data Resolution Techniques
LD Vehicles
  Registrations
  Travel Models
MDHD Vehicles
  OEM data
  Fleet data
  Travel Data
Other Vehicle Sectors
  Transit/School Buses
  Government Fleets
  Ports/Airports
  Vocational Fleets
Other Load Data
EVSPs/Fueling Retailers
H3 – Level 8 Maps
+
+
+
+
+
+
=
One map with energy + power needs
*EV Service Providers
Individual layer
Individual layer…
LAYERED DATA APPROACH
1
2
Res | Average Hexagon Area (km2) | Average Hexagon Area (mi2)
0 | 4,357,449.42 | 1,682,419.93
1 | 609,788.44 | 235,440.54
2 | 86,801.78 | 33,514.34
3 | 12,393.43 | 4,785.13
4 | 1,770.35 | 683.53
5 | 252.90 | 97.65
6 | 36.13 | 13.95
7 | 5.16 | 1.99
8 | 0.74 | 0.28
9 | 0.11 | 0.04
10 | 0.0150 | 0.0058
11 | 0.0021 | 0.0008
12 | 0.0003 | 0.0001
Where Hex8 ~ 1 or 2 feeders
Notes: Where one hex8 ~0.28 sq. mi
(roughly one feeder circuit)

## Slide 12: LD + MDHD | 100% Electrified Hex4 (each hexagon is 684 square miles)
MWh/Day
<500 MWh
500-1,000 MWh
1,000-2,000 MWh
2,000-3,000 MWh
3,000-5,000 MWh
5,000-10,000 MWh
10,000-15,000 MWh
15,000+ MWh

## Slide 13: LD + MDHD | 100% Electrified
H5 – 98 sq miles per hex
H8 – 0.28 sq miles per hex
< 50 MWh
50-100 MWh
100-300 MWh
300-500 MWh
500-1,000 MWh
1,000-1,500 MWh
1,500-2,500 MWh
2,500 + MWh

## Slide 14: MDHD Depot Case Study - 100% Electrified
MWh/Day per Hex

## Slide 15: MDHD Depot Case Study - 100% Electrified
Companies:
Pacific Urethanes -
Blue Triton Brands – drink company
Nabisco Foods
West Rock Corrugated Container
IIT Champagne – Champagne delivery
Ray Products- Plastic company
Bishamon Industries – metal handling
RICH solar
Coca Cola Co
MWh/Day per Hex

## Slide 16
Light-Duty Residential Charging Energy Required Over Time

## Slide 17: Medium and Heavy-Duty Return to Depot Charging Energy Required Over Time
2023
100% Electrified
2030 (Policy Compliance)
Legend (MWh/day) |  | < 1 MWh |  | 1-3 MWh |  | 3-5 MWh |  | 5-10 MWh |  | 10-15 MWh |  | 15-25 MWh |  | 25 MWh +

## Slide 18: What these Load Forecast Maps Are (and Aren’t)
Goal
  Provide as much certainty as possible to utilities, regulators/oversight bodies, and other key stakeholders about where and when transportation loads are arriving on the grid
Messaging
  This is eRoadMAP Version 1.0
  It reflects a transparent and collaborative process between utilities, fleets, many other data providers
  It is meant to represent the best data available to date and the means to start communicating, prioritizing, and planning for grid-side, no-regret investments
  It provides near-term, mid-term, and long-term planning horizons

## Slide 19: Load … but what about Capacity?
H5 – 98 sq miles per hex
< 50 MWh
50-100 MWh
100-300 MWh
300-500 MWh
500-1,000 MWh
1,000-1,500 MWh
1,500-2,500 MWh
2,500 + MWh

## Slide 20: Utility Grid Survey Preliminary Responses
Preliminary Findings:
5MW load – 30% likely to need a feeder upgrade
10MW load – 48% likely to need a dedicated feeder, 42% likely to need substation
20MW load – 70% likely to need a new substation
The utility grid, as a system, is relatively well positioned to serve EV charging – however challenges exist in some locations

## Slide 21
Preliminary Findings:
Upgrades to an Existing Feeder: 6-12 months
Dedicated Feeder Lead Time: 12-24 months
Build a new Substation: 24-36 months
Utility Grid Survey Preliminary Responses

## Slide 22: Database of Substations Already Exists
Geospatial Energy Mapper (GEM), Argonne National Laboratory, https://gem.anl.gov/
Includes
Substation name
Lat/Long coordinates
Max/Min voltage
Does not include
Rated capacity
Load

## Slide 23: How might we help EV customers and utilities get actionable transportation load information, earlier into the utility planning process?
Role of GridFAST
Service Request & Refinement
Close communication between fleets & utilities
Vision
Plan
Fund
Design
Procure
Build
Deploy
Design
Construction
Close communication between EV customers & utilities
EV CUSTOMER
Service Request
Opportunity
UTILITY
Opportunity
Distribution Planning Cycle
Transmission Planning Cycle

## Slide 24: GridFAST vision
GridFAST Secure online data exchange platform
Improve transparency in EV charging planning to inform grid investments and accelerate grid interconnects
2023-2035 plans defining loads, locations, timing
Utility hosting capacity – or proxies – indicating grid readiness, timing to support EV charging loads

## Slide 25: Enabling Regulatory and Oversight Framework
TM

## Slide 26: Addressing the Barriers to Achieving EVs at Scale A Three-Pillar Strategy
1
2
3
Bilateral Convening Series
  Utility-OEM Forum
  Utility-Fleet Forum
50-state eRoadMAPTM to 2030 outlining EV loads, grid impacts, leadtimes, workforce, costs
COALITIONS & ROADMAPS
National EV Driver Research Board
STRUCTURAL SYSTEM REFORMS
UNIFYING TOOLS & PILOTS
Enabling Regulatory and Oversight Framework
Equity Blueprint & Workforce Development
Reliability: Benchmarking, Standards
Charging innovation & affordability
Approved Product List (APL)
NEVI/NEHC Coordination with EEI
Charging Infrastructure
Streamlined Grid Interconnect
  Expedited Interim Charging Solutions
Managed Charging at Scale
Interconnect Standards for V2H/V2B/V2G
GridFASTTM Online Data Exchange
OEM/Utility V2H/V2B Pilot
EV Resilience/Evacuation Pilot
Grid Readiness
Red: Expected to heavily inform the regulatory workstream

## Slide 27: Key Regulatory Areas of Focus to Advance Timely Grid Investment for Scale Levels of EV Charging Infrastructure
Industry provided data & 50-State Roadmap
Regulatory Workstream
GridFAST Tool & Interconnection Workstreams
Collaborative NGO outreach and industry support
Provide Policy & Regulatory Awareness
Justify the Need to Act
Justify Which Policies Need to be Addressed
Establish Model Processes Across the Utility Industry

## Slide 28: Regulatory/Policy Outreach
PROPOSED DELIVERABLE: A 50-State/National Outreach Package for regulators, legislators, consumer advocates,
and federal agencies that leverages eRoadMAPTM and GridFASTTM to build a case for proactive grid investment that enables timely scale
Economic Opportunities (battery plants, assembly plants, EVSE,…)
In-State Revenue Opportunities (electricity sales/taxes, downward pressure on rates)
Industry Support (letters of support, PUC hearings,…)
Load Forecasting Data Analysis (near-term priorities) eRoadMAPTM
Grid Impact Analysis (substation and feeder level priorities) eRoadMAPTM
Leadtime Impacts
Costs (potential solutions and approaches to who pays)
Supply Chain Impacts (transformers, switch gear,…)
Grid-Side Costs (potential solutions and approaches to who pays)
IOU vs. Public Power vs. Rural Coop
BY STATE:
NATIONALLY:

## Slide 29: Released Reports + Tools
EVs2Scale2030 | EPRI -- https://msites.epri.com/evs2scale2030
EVs2Scale Website
VPL (Vetted Product List)
Grid Primer
EV Charging Reliability Analysis
1
2
3
4
https://www.epri.com/vpl
Mark your calendars:
EPRI’s “Electrification 2024” Conference in Savannah, GA 12-14 March, 2024

## Slide 30: Thank You